# AeroCool Vendor Submittal — CRAH Package

# Submitted model: CRAH-01

Sensible cooling capacity: 120 kW.

Power supply: 415 V, three phase, 50 Hz.

Protection class: IP55.

Control redundancy: N+1.

# Submitted model: CRAH-02

Sensible cooling capacity: 120 kW.

Power supply: 415 V, three phase, 50 Hz.

Protection class: IP54.

Control redundancy: N+1.