# Orion DC-01 Commissioning Release Checklist

# Pre-release gate

All capacity, voltage and redundancy deviations must be resolved before electrical energisation.

Vendor submittals must reference an approved technical specification.

Factory acceptance test certificates must be reviewed before integrated systems testing.

# Evidence requirement

Each open finding must preserve the approved requirement and submitted evidence with a source-page reference.